# Data Analysis:

# Data locations:

I:\EPA Shower\Aerotrak (not used at present)

I:\EPA Shower\CO2

I:\EPA Shower\HOBOs

I:\EPA Shower\Log - CO2 Injection

I:\EPA Shower\Log - Shower

I:\EPA Shower\Aerotrak (not used at present)

I:\EPA Shower\MH DAQ\indoor_daq\2026

I:\EPA Shower\MH DAQ\weather_station\2026

I:\EPA Shower\QuantAQ

I:\EPA Shower\Water Flows and Temps

I:\EPA Shower\Log - CO2 Injection

I:\EPA Shower\Log - Shower

# CO2 Analysis:

Need to combine three Aranet data files: Bedroom, Entry, and Outside.

6-minute rolling average applied to reduce sensor noise

We need to analyze CO2 decay using a numerical approach, as both Cbedroom, Centry, and Coutside are time-dependent (typically, we assume Coutside is constant, so we can explicitly solve for lambda). Solve the purple equation for each time step. Then, calculate the average and standard deviation of lambda over the 2 hours after CO2 injection. Start the decay calculation 10 minutes before the top of the hour (CO2 is injected from 38 to 44 minutes after the hour; the mixing fan turns off at 45 minutes after the hour).

VdCdt=QoutCout+QEntryCEntry-QC

Q=Qout+QEntry

Assuming ½ of the flow comes from outside and ½ from inside.

VdCdt=Q2Cout+Q2CEntry-QC

VdCdt=QCout+CEntry2-QC

VdCdt=QCaverage,Out&Entry-QC

We will assume the Caverage, out&entry is a constant steady value.

∂C∂t=λCaverage,Out&Entry-Ct

This can be solved analytically:

-lnCt-Caverage,Out&EntryCt=0-Caverage,Out&Entry=λt

Where the Caverage, out&entry is the average indoor and outdoor for the fit duration. Ct=0 is the value in the room at the start of the decay. The average l for each injection can then be determined by linear interpolation with the left side as the y variable and t as the x variable.

# QuantAQ Particle Analysis:

Need to combine two QuantAQ files: Inside, Outside

Smooth the combined data using 5-minute rolling averages.

We need to analyze particle decay in the following bin sizes (0.35-0.46, 0.46-0.66, 0.66-1.0, 1.0-1.3, 1.3-1.7, 1.7-2.3, and 2.3-3) using a numerical approach, since both Cbedroom and Coutside are time dependent.  We assume particle growth is lower in these size ranges than deposition and ventilation losses. p is the particle penetration factor. bdeposistion is the effective deposition loss rate for particles, and V is the volume of the bedroom (excluding the closet and bathroom). Solve the equations for each bin size.

VdCdt=pQCout-QC-βdepositionCV+E

dCdt=pλCout-λC-βdepositionC+EV

- P is solved by the ratio of C/Cout between the 6 hours before the shower and 1 hour prior to the shower being on. It should be in the 0.7-1.0 range.  P is limited to values between 0 and 1.0.

- The air change rate, l, is solved from the CO2 data.

- bdeposistion is solved for when the E value is zero. Since Cout is not constant, the equation is solved numerically. Solve the purple equation for each time step. Determine the average value after the shower turns off for each particle size using the purple equation.  The start time is the peak concentration after the shower turns off.  The end time is 2 hours after the shower is off.  Calculate the bdeposistion average value for all the fit values in the 2-hour window.

Cti+1-CtΔt=pλCout,t-λCt-βdepositionCt

Cti+1-CtΔt-pλCout,t+λCt=-βdepositionCt

Cti+1-Ct-CtΔt-pλCout,t-Ct-λ=βdeposition

βdeposition=-Cti+1CtΔt+1Δt+pλCout,tCt-λ

βdeposition=1Δt-λ-Cti+1CtΔt+pλCout,tCt

- The emission rate is calculated numerically from the data points starting when the shower is turned on until the peak concentration is reached (same point as above) using the above determined l and bdeposition values.

Cti+1-CtΔt=pλCout,t-λCt-βdepositionCt+EtV

EtV=-Cti+1-CtΔt+pλCout,t-λCt-βdepositionCt

Et=-VCti+1-CtΔt+pλVCout,t-λVCt-βdepositionVCt

Et=pλVCout,t+VCt-Cti+1Δt-λVCt-βdepositionVCt

- For each bin size, calculate the Ct value for the period from when that shower turns on until 2 h after the shower is turned off.  Use the Et value calculated in step 4 from the time the shower turns on until the peak concentration.  After that time, set the Et value to zero. Use the bdeposistion average value for all time points. The initial Co value should be set to the bin size concentration at the time the shower is turned on.  Plot the fit of the numerical equation 5 on the graph.

Cti+1-CtΔt=pλCout,t-λCt-βdepositionCt+EtV

Cti+1Δt=CtΔt+pλCout,t-Ctλ+βdeposition+EtV

Cti+1=Ct+ΔtpλCout,t-Ctλ+βdeposition+EtV

- For each bin size, calculate Etotal.  This is the area under the curve of Et versus time, computed using the trapezoidal rule:
Etotal=Δt*Et+Eti+12
where the sum runs over all time steps from shower-on to peak concentration.

Etotal=Et+Eti+12

# Relative Humidity Analysis:

Four types of instruments measure relative humidity. The following locations should be analyzed.

- Aranet1 Entry (Livingroom)

- Aranet2 Bedroom

- Aranet3 Out (outsideN)

- QuantAQ1 (Bedroom)

- QuantAQ2 (OutsideS)

- DAQ (Vaisala Bedroom)

- DAQ (Vaisala Bathroom)

- DAQ (Vaisala Livingroom)

- MB_D/G (HOBO Bathroom1) *This one had a name change at one point (D/G)

- MB_Bath (HOBO Bathroom2)

- MB_E (HOBO Bath/Bed)

- MB_Bed (HOBO Bedroom1)

- MB_F (HOBO Bedroom2)

- MB_C (HOBO Bedroom3)

For each data set report:

- The initial average and standard deviation of RH for 30 minutes prior to the shower turning on.

- The average and standard deviation RH for the two hours after the shower turns off, along with the difference between the min and max values for that period.

# Temperature Analyses:

There are three types of instruments for recording temperatures. The following locations should be analyzed. The same locations as temperature should be processed.

For each data set, report the average temperature for the two hours after the shower turns off, along with the difference between the min and max values for that period.

For each data set report:

- The initial average and standard deviation of temperature, for the 30 minutes prior to the shower turning on.

- The average and standard deviation temperatures for the two hours after the shower turns off.

# Other Data:

The following other data from the DAQ should be processed:

- Windspeed

- Direction

For each data set report:

- The initial average and standard deviation of the variables for the two hours after the shower turns off.